## Rapport production
| PROCESSUS GERER LES INFRASTRUCTURES ET EQUIPEMENTS DE PRODUCTION | [6 empty] | PS3-ID15 | DATE :………………………………………………………………………… QUART :……………………………………………………………………….. NOM ET SIG. :……………………………………………………………….
| RAPPORT DE PRODUCTION | [6 empty] | Version : 01
Page 1 sur 1
CONSOMMATION D'EAU | [6 empty] | PRODUCTION FORAGES
| Début(m3) | Fin(m3) | Total produit(m3) |  |  |  |  | Début(m3) | Fin(m3) | Total produit(m3) | Débit(m3)
Raw water | [6 empty] | Infirmérie
UFint | [6 empty] | SIDEL
Permeat | [6 empty] | DSD
Service int | [6 empty] | Parking
Lime water | [6 empty] | Line 4
Brew water | [6 empty] | Pasto Line 4
Drinking water | [6 empty] | Line 5
DEAREATE WATER | [6 empty] | Laveuse Line5
Service watert out | [6 empty] | CSD water
Backwash UF | [6 empty] | Cellar
RO in volume
Concentrate | [6 empty] | CONSOMMATION CO2/NaOH/KMnO4/EPIGUARD
Lime milk | [7 empty] | Début (l) | Fin (l) | Total conso
water prd lime | [6 empty] | CO2 in Brew
Backwash Eliwa | [6 empty] | CO2 in Drinking
Lime cycle | [6 empty] | NaOH
Calmix Brew | [6 empty] | KMnO4
Calmix Drinking | [6 empty] | Epiguard
ANALYSES DES ECHANTILLONS D'EAUX
PARAMETER | UNIT | RAW WATER |  | PERMEATE WATER |  | SERVICE WATER |  | BREW WATER after CALMIX |  | DRINKING WATER after CALMIX
|  | Expected | Actual | Expected | Actual | Expected | Actual | Expected | Actual | Expected | Actual
Alkalinity | mg/l as CaCO3 | 6.1 |  | <5 |  | 4 |  | approx.25 |  | ≤20
SO42- | mg/l | 11.7 |  | <1 |  | 7 |  | 106 |  | <1
Cl- | mg/l | 90.4 |  | <5 |  | 50 |  | 50 |  | <5
NO-3 | mg/l | 34.8 |  | <5 |  | 20
Fe | mg/l | 0.06 |  | <0,02 |  | <0,00
Mn | mg/l | 0.3 |  | <0,02 |  | <0,02 |  | <0,02 |  | <0,02
Ca2+ | mg/l | 7.3 |  | 0.5 |  | 5 |  | approx.80 |  | 30
Mg2+ | mg/l | 2 |  | <1 |  | 2 |  |  |  | 0.1
Na+ | mg/l | 55.2 |  | <10 |  | 52
SiO2 | mg/l | 6.3 |  | <1 |  | 4
pH |  |  |  | [5,5-7,1] |  | [6,5-7,1] |  | [5,4-5,8] |  | [6,8-7,2]
CE | µS/cm |  |  | <100 |  | <500 |  |  |  | 200-400
TH | °F |  |  | <0,2 |  |  |  | [10-15] |  | [10-15]
ClO2 | mg/l |  |  |  |  | <0,30 |  | <0,30 |  | <0,30
ClO2 LABORATOIRE | mg/l |  |  |  |  | <0,30 |  | <0,30 |  | <0,30

## Rapport production (2)
|  | PROCESSUS GERER LES INFRASTRUCTURES ET EQUIPEMENTS DE PRODUCTION |  |  |  |  | PS3-ID15 | DATE :…………………………………………………………………………
|  | RAPPORT DE PRODUCTION |  |  |  |  | Version : 02
Page 1 sur 1
ANALYSES DES ECHANTILLONS D'EAUX
Shift | Check hours | PARAMETER | UNIT | RAW WATER | UF out | PERMEATE WATER | SERVICE WATER | SERVICE WATER | BREW WATER after CALMIX | NOMS ET SIGANTURE DE L'OPERATEUR
06H14H | 07H30 | Alkalinity | mg/l as CaCO3
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO2 | mg/l
| 09H30 | Alkalinity | mg/l as CaCO3
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO2 | mg/l
| 11H30 | Alkalinity | mg/l as CaCO3
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO2 | mg/l
14H-22H | 15H30 | Alkalinity | mg/l as CaCO4
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO3 | mg/l
| 17H30 | Alkalinity | mg/l as CaCO5
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO4 | mg/l
| 19H30 | Alkalinity | mg/l as CaCO6
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO5 | mg/l
22H-06H | 23h30 | Alkalinity | mg/l as CaCO7
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO6 | mg/l
| 01h30 | Alkalinity | mg/l as CaCO8
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO7 | mg/l
| 03h30 | Alkalinity | mg/l as CaCO9
|  | Fe | mg/l
|  | Mn | mg/l
pH
|  | CE | µS/cm
|  | TH | °F
|  | ClO8 | mg/l
NOMS SIGNATURE DU CONTREMAITRE,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,