## Sabroe Checklist
Sabroe Compressors | Daily Sabroe Compressor Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-SC 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Check oil level in oil separator | Daily: As per sight glass indication
Abnormal sound coming from the maachine | Daily: Warm
Suction Temperature | Daily: <-2.3 °C/R
Suction pressure | Daily: < 3.5 bar
Suction gas super heating | Daily: 0 - 100°C
Oil Pressure | Daily: < 1 bar
Oil Filter Pressure | Daily: < 0.7 bar
Oil Temperature | Daily: < 70°C
Oil Separator Temperature | Daily: < 100 °C
Ammoniac leakage | Daily: 0
Oil leakage | Daily: 0
Liquid ammonia pump | Daily: Auto
Discharge Pressure | Daily: <15 bar
DischargeTemperature | Daily: < 90°C
Discharge Superheat | Daily: > 10°
Capacity control | Daily: [0 ; 100 ] %
Check the PHE ( ice,cold) leakage | Daily: Yes / No
Warmer Glycol | Daily: ≤ 4
Ice Water | Daily: ≤ 4
D Water | Daily: ≤ 4
Chiller 4 | Daily: ≤ -4
Chiller 5 | Daily: ≤ -4
Vibration develop
Abnormal sound coming
Refrigerant leak
Number of Operating Hour
Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings/Observation .
Nb: please return completed checklist to the utility maintenance planner

## Sabroe Checklist (2)
Sabroe Compressors | Daily Sabroe Compressor Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-SC 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Check oil level in oil | Daily: As per sight glass indication
Abnormal sound coming from the machine | Daily: Warm
Suction Pressure | Daily: [ 1.6 ; 9 ] bar
Suction Temperature | Daily: <3.5 °C/R
Suction super-heat | Daily: 0 - 100°C
Oil Pressure | Daily: >1.6 bar
Oil Filter Pressure | Daily: < 2.2 bar
Oil Temperature | Daily: < 70°C
Oil Separator Temperature | Daily: < 100 °C
Niveau NH3 | Daily: Auto
Discharge Pressure | Daily: <15 bar
DischargeTemperature | Daily: < 90°C
Discharge Superheat | Daily: > 10°
Liquid level | Daily: -25
Chiller 4 Debit glycol | Daily: ≤ 120
Chiller 5 Debit glyco | Daily: ≤ 120
Number of Operating Hour
Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings/Observation .
Nb: please return completed checklist to the utility maintenance planner

## Condenser Checklist
Sabroe Condensers | Daily Evaporative condenser Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-CD 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Water in condenser | Daily: 75%
Blower fan condition Working | Daily: Yes/No
Floteur | Daily: Working
V belt and tension condition | Daily: No fray, crack or cut
Valve condition | Daily: Working
Ammonia Leak from valve and gland | Daily: Zero leak
Vibration developed | Daily: Normal
Confirm chemical dosing & availability | Daily: Yes/No
Abnormal sound | Daily: Normal
Bearing Lubrificated | Daily: Yes/No
Drain valve Closed | Daily: Yes/No
Water Leakage | Daily: Yes/No
Make up valve opened | Daily: Yes/No
Piping corrosion | Daily: Painted
Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings/Observation . .
Nb: please return completed checklist to the utility maintenance planner

## Boiler Checklist
Boiler Plant | Daily Steam Boiler Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-B 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Check for Gas, HFO, Water and Steam leakages from joints & pipes | bar: Daily
Check the steam pressure | Daily: [5-10] bar
Send condensates & feed water & Boiler water parameter for laboratory check | bar: Daily
Check and clean port glass,replace damaged glass with heat resistant pyrex of same type provided. | bar: Daily
Check all strainers and filters | bar: Daily
Check the bottom & surface blowdown operation | bar: Daily
Check for possible seal failure indicated by flue gas leaks,hot spots,or casing discolaration. | bar: Daily
Inspect valves and piping for leaks that are both inefficient and hazardous | bar: Daily
Check casing and structural members for weld failure and cracks. | bar: Daily
Check all steam traps for optimum performance | bar: Daily
Check the pumps pressure gauge | bar: Daily
Check for abnormal noise | bar: Daily
Check the rotation of the motor | bar: Daily
Check the make up water system for abnormalitie e.g leakages, faulty fittings etc | bar: Daily
Check for abnormal noise | bar: Daily
Check the bearing temperature and vibration | bar: Daily
Number of Operating Hour
Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings
Nb: please return completed checklist to the utility maintenance planner

## Air compressors Checklist 90
Air Compressors ZT90 | Daily Air Compressor Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-AC 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Check oil level in crankcase | Daily: 75% level
Colour of oil | Daily: Transparently clear
Oil temperature | Daily: 70deg c
Oil leakage | Daily: None
Oil cooler | Daily: Clean / Dirty
HMI condition | Daily: Bright / Dull
Fan | Daily: Working
Dryer condition | Daily: Working/<3.0deg c d.p
Physical appearance | Daily: Clean
Guides in position | Daily: Closed
Condensate leakage | Daily: Nill
Condensate Drainer | Daily: Working
Air Leakage | Daily: Nill
Hoses condtion/connection | Daily: Good
Load/unload | Daily: Working
Element temperature I | Daily: >100°C
Element temperature II | Daily: >120°C
Number of Operating Hour
Loadinf Hours
Operator/Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings
Nb: please return completed checklist to the utility maintenance planner

## Air compressors Checklist 75
Air Compressors ZT75 | Daily Air Compressor Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-AC 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Check oil level in crankcase | Daily: 75% level
Colour of oil | Daily: Transparently clear
Oil Pressure | Daily: >1.2 bar
Oil leakage | Daily: None
Oil cooler | Daily: Clean / Dirty
HMI condition | Daily: Bright / Dull
Fan | Daily: Working
Dryer condition | Daily: Working/<3.0deg c d.p
Physical appearance | Daily: Clean
Guides in position | Daily: Closed
Condensate leakage | Daily: Nill
Condensate Drainer | Daily: Working
Air Leakage | Daily: Nill
Hoses condtion/connection | Daily: Good
Load/unload | Daily: Working
Element temperature I | Daily: >100°C
Element temperature II | Daily: >120°C
Number of Operating Hour
Loading Hours
Operator/Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings
Nb: please return completed checklist to the utility maintenance planner

## CO2 Checklist
CO2 Plant | Daily CO2 Plant Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-CO2 01 | Daily: (When to When) Date→
Check oil level in crankcase | Daily: 75% level
Colour of oil | Daily: Transparently clear
Cooling Compressor Oil Level | Daily: 75% level
Oil leakage | Daily: None
Discharge Pressure | Daily: ≤ 19.5 bar
HMI condition | Daily: Bright
Dryer condition | Daily: D.pt (≤ -50°C)
Physical appearance | Daily: Clean
Guides in position | Daily: Closed
Condensate leakage | Daily: Nill
Condensate Drainer | Daily: Working
Air Leakage | Daily: Nill
Hoses condtion/connection | Daily: Good
Load/unload | Daily: Working
O2 ppm (Cellar) | Daily: ≤ 2000 ppm
O2 ppm (CO2 Plant) | Daily: 0.0 ppm
Balloon Level | Daily: ≥30%
Number of Operating Hour
Operator/Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings
Nb: please return completed checklist to the utility maintenance planner

## Condensate Tank
Collect Condensate Tank | The Collect Condensate Tank Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Brewhouse | MORNING | AFTERNOON | EVENING | DATE
| tank level | tank level | tank level
| pump 1 | pump 1 | pump 1
| pump 2 | pump 2 | pump 2
| PH | PH | PH
| water quality | water quality | water quality
| condition | condition | condition
Cellar | MORNING | AFTERNOON | EVENING | DATE
| tank level | tank level | tank level
| pump 1 | pump 1 | pump 1
| pump 2 | pump 2 | pump 2
| PH | PH | PH
| water quality | water quality | water quality
| condition | condition | condition
Line 4 | MORNING | AFTERNOON | EVENING | DATE
| tank level | tank level | tank level
| pump | pump | pump
| pasto PRV | pasto PRV | pasto PRV
| PH | PH | PH
| water quality | water quality | water quality
| condition | condition | condition
Line 5 | MORNING | AFTERNOON | EVENING | DATE
| tank level | tank level | tank level
| pump | pump | pump
| pasto PRV | pasto PRV | pasto PRV
| PH | PH | PH
| water quality | water quality | water quality
| condition | condition | condition

## Condenser Checklist CO2
CO2 Evaporative condenser | Daily CO2 Evaporative condenser Checklist
AUTONOMOUS MAINTENANCE
START-UP / RUNNING CHECKS
ENGINEERING - UTILITY
Frequency | Daily | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Doc Nr: PM-CD 01 | Daily: (When to When) Date→
Check Points | Daily: Standard
Water in condenser | Daily: 75%
Blower fan condition Working | Daily: Yes/No
Floteur | Daily: Working
V belt and tension condition | Daily: No fray, crack or cut
Valve condition | Daily: Working
Vibration developed | Daily: Normal
Confirm chemical dosing & availability | Daily: Yes/No
Abnormal sound | Daily: Normal
Bearing Lubrificated | Daily: Yes/No
Drain valve Closed | Daily: Yes/No
Water Leakage | Daily: Yes/No
Make up valve opened | Daily: Yes/No
Piping corrosion | Daily: Painted
Technician Name & Date……………………………………………………………………
Utility Foreman Name & Date……………………………………………………………………
Please state any findings/Observation . .
Nb: please return completed checklist to the utility maintenance planner